{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":6,"n_cols":4,"rows_kept":6,"merged":[[0,0,0,3],[5,0,5,3]],"flags":["formulas_cached_only"]}
["附件一：调研产品清单及需求"]
["序号","耗材名称","用途及参数需求","其他需求"]
[1,"止血海绵","性能需求：\n1、止血特性：适用于耳鼻喉手术，具有止血特性，能吸收血液中的水分，具有浓缩凝血因子，促进止血。\n2、降解特性：可水解成凝胶状水溶性聚合物，术后易清理。\n3、膨胀特性：浸水后棉体向外均匀膨胀，为术腔提供湿润环境。\n4、PH值波动小，维持伤口PH值稳定，有助于伤口愈合。\n5、生物相容性好。\n6、临床功效：可靠止血、减少水肿、防止粘连、不产生异味、减少鼻塞、减少分泌物、降低疼痛。\n产品需求：\n1、大小1~2cm*6~10cm；\n2、独立包装，一次性使用；\n3、无需低温储运，室温存储。\n4、止血效果良好，膨胀后能有效支撑术腔；\n5、具有生物降解性，术后能水解成凝胶状水溶性聚合物。","一、具备医疗器械注册证\n二、已纳入《广州市社会医疗保险及生育保险医用耗材目录》\n三、如有必须用到的专用配套耗材，需一起报名"]
[2,"重复用等离子体手术刀头","性能需求：\n1、直接适配目前科室等离子主流品牌设备，即插即用。\n2、等离子体激发快，切割流畅、止血效果好。\n3、满足泌尿外科等离子电切技术的开展。适用于前列腺增生、尿道狭窄、内表浅性膀胱肿瘤、非侵润性膀胱肿瘤等手术\n4、需符合国家医用手术电气级别认证，安全性有保障。\n产品需求：\n1、重复性使用。\n2、可直接兼容奥林巴斯等离子主机和工作把手。\n3、至少具有环状、滚球2种以上规格可选。\n4、刀头应为一体式设计，前端采用正负极的双极设计，电流只在电极前端形成回路，不经过人体其他组织和人体接触的工作手柄等器械，可避免人体与器械接触的部位因电流的刺激而造成尿道及其它腔道狭窄或灼伤的危险。","一、具备医疗器械注册证\n二、已纳入《广州市社会医疗保险及生育保险医用耗材目录》\n三、如有必须用到的专用配套耗材，需一起报名"]
[]
["声明：以上所述的初步配置及参数需求等要求无指向性、倾向性和排他性，因市场了解的局限性，可能存在不足，仅作为本次市场调研参考用。"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}