{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":5,"n_cols":4,"rows_kept":5,"merged":[[0,0,0,3],[4,0,4,3]],"flags":["formulas_cached_only"]}
["附件一：调研产品清单及需求"]
["序号","耗材名称","用途及参数需求","其他需求"]
[1,"导丝","性能需求：\nl、可用于神经血管类介入手术，顺应性强\n2、远端操作性优秀，方便过弯超选\n3、支撑性优秀，能够引导导管或其他介入材料到达指定部位\n产品需求：\n1、多种型号规格可选，包含直型尖端和预塑型尖端等\n2、导管长度需包含215cm和300cm，导管内径包含0.016in。","一、具备医疗器械注册证\n二、已纳入《广州市社会医疗保险及生育保险医用耗材目录》\n三、如有必须用到的专用配套耗材等，需一起报名"]
[]
["声明：以上所述的初步配置及参数需求等要求无指向性、倾向性和排他性，因市场了解的局限性，可能存在不足，仅作为本次市场调研参考用。"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}