{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":9,"n_cols":4,"rows_kept":9,"merged":[[0,0,0,3],[8,0,8,3]],"flags":["formulas_cached_only"]}
["附件一：调研产品清单及需求"]
["序号","耗材名称","用途及参数需求","其他需求"]
[1,"一次性使用子宫支架","1、需要较好的吻合度 ，能近100%隔离面积，有效防粘连，支架在宫腔内不易移位、变形、嵌顿、脱落等 。\n2、需要保护性较好，支架表面光滑、材质柔软，放入宫腔平整，对宫腔没有损伤，易于放置。\n3、需要较好的安全性，避免宫内膜压迫，具有引流功能， 防止支架吸附在宫壁\n4、根据患者宫腔深度、宫底宽度以及患者宫腔病情的差异能设置多种规格，符合广泛人群子宫形态；\n5、放置器尺寸符合需求；\n6、体内使用期限≥15天。","一、如有必须配合使用的配套设备、耗材等，需一起报名\n二、具备医疗器械注册证\n三、已纳入《广州市社会医疗保险及生育保险医用耗材目录》"]
[2,"远端输送导管","1、需达到岩骨段-破裂孔段，甚至海绵窦段。\n2、用于在血管内输送介入器械，需要通路系统稳定支撑。要高到位，辅助后续通路导管快速到达病变近端;大口径。\n3、长度>90cm，内径>0.08英寸\n4、须有亲水涂层，血管内输送更顺滑。\n5、头端设计须柔软、圆润，须灵活，可轻松通过迂曲病变\n6、需要有多个柔软无痕过渡节段","一、如有必须配合使用的配套设备、耗材等，需一起报名\n二、具备医疗器械注册证\n三、已纳入《广州市社会医疗保险及生育保险医用耗材目录》"]
[3,"输送型球囊扩张导管","1、“球囊+微导管”一体化导管，可以减少器械交换，提高手术安全性\n2、球囊微导管内径包含多个尺寸\n3、球囊直径包含2-3.5mm\n4、输送系统长度＞140cm","一、如有必须配合使用的配套设备、耗材等，需一起报名\n二、具备医疗器械注册证\n三、已纳入《广州市社会医疗保险及生育保险医用耗材目录》"]
[4,"半月板缝合器","1、适合关节镜下半月板缝合。\n2、转弯角度齐全，有不同穿刺角度的半月板缝合器。能满足绝大多数半月板缝合需求。\n3、脱钉率低。安全可靠。\n4、集采产品。","一、如有必须配合使用的配套设备、耗材等，需一起报名\n二、具备医疗器械注册证\n三、已纳入《广州市社会医疗保险及生育保险医用耗材目录》"]
[5,"全缝线锚钉","1、全缝线材质锚钉，适合肩盂边缘，骨骼窄小部位的缝合固定及骨质疏松部位的肩袖缝合。\n2、脱钉率低。安全可靠。\n3、直径满足1.8-2.3mm，适合盂唇部位、骨骼窄处缝合的小直径全缝线锚钉及骨质疏松处的大直径锚钉。\n4、集采产品","一、如有必须配合使用的配套设备、耗材等，需一起报名\n二、具备医疗器械注册证\n三、已纳入《广州市社会医疗保险及生育保险医用耗材目录》"]
[]
["声明：以上所述的初步配置及参数需求等要求无指向性、倾向性和排他性，因市场了解的局限性，可能存在不足，仅作为本次市场调研参考用。"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}