{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":5,"n_cols":4,"rows_kept":5,"merged":[[0,0,0,3],[4,0,4,3]],"flags":["formulas_cached_only"]}
["附件一：调研产品清单及需求"]
["序号","耗材名称","用途及参数需求","其他需求"]
[8,"固定式宫内节育器","1、可用于宫内固定曼月乐环防止环脱落。\n2、安全性高、副作用少、高效避孕。\n3、操作方便简易。","一、如有必须配合使用的配套设备、耗材、试剂、质控等，需一起报名\n二、具备医疗器械注册证\n三、已纳入《广州市社会医疗保险及生育保险医用耗材目录》"]
[10,"血液滤过器","1、可应用于血液透析（HD）、血液滤过（HF）和血液透析滤过（HDF）等不同血液净化治疗模式\n2、血室和透析液室接口设计合理，可确保血液和透析液的流动顺畅，且在使用过程中易出现松动或泄漏\n3、血室容量适中，可确保血液在透析器内充分流动和交换，并保证血流动力学稳定性\n4、膜材具有良好的生物相容性，可有效避免过敏、炎症等不良反应\n5、有效膜面积≥1.2㎡\n6、超滤系数≥48 \n7、筛选系数：β2微球蛋白≥0.7；白蛋白≤0.02\n8、灭菌方式：γ射线灭菌","一、如有必须配合使用的配套设备、耗材、试剂、质控等，需一起报名\n二、具备医疗器械注册证\n三、已纳入《广州市社会医疗保险及生育保险医用耗材目录》"]
["声明：以上所述的初步配置及参数需求等要求无指向性、倾向性和排他性，因市场了解的局限性，可能存在不足，仅作为本次市场调研参考用。"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}